| SAFE WORK PRACTICE |
| --- |
| TITLE | Refuelling Equipment |
| GENERAL | Protecting workers from injuries associated with refuelling operations |
| APPLICATION | Refuelling of equipment is a daily task in construction industry which may be hazardous if not carried out properly |
| PROTECTIVE MECHANISMS | Safe work procedure Alberta Fire Code Applicable Legislation PPE ERP (Emergency Response Plan) |
| SELECTION AND USE | As per safe work procedure Applicable Legislation |
| SUPERVISOR RESPONSIBILITY | Supervisors are responsible to facilitate and/or provide proper instruction to their workers on protection requirements and training |
| WORKER RESPONSIBILITY | Ensure you are conversant with regulations Refuelling area is ventilated Ensure equipment is shutoff prior to refuelling Ensure there is no smoking or open flames in vicinity Avoid spillage on equipment or ground Ensure cellular phones and/or hand-held devices are turned off |
| * The information presented in this publication is intended for general use and may not apply to every circumstance. It is not a definitive guide to government regulations and does not relieve persons using this publication from their responsibilities under applicable legislation. The Northern Safety Association does not guarantee the accuracy of, nor assume liability for, the information presented here. Individual counselling and advice are available from the Association. |