| SAFE WORK PRACTICE |
| --- |
| TITLE | Fall Protection |
| GENERAL | Protect workers from injuries associated by not utilising proper fall arrest protection |
| APPLICATION | Fall Arrest Protection shall be utilized where there is or may be a danger to workers falling. NO person shall use fall protection devices until they have received adequate training. |
| PROTECTIVE MECHANISMS | Permit system ERP ( Emergency response plan ) Fall protection plan PPE Manufacturers specifications Safe work procedure Barricades and warning signs |
| SELECTION AND USE | Manufacturers specification As per safe work procedure |
| SUPERVISOR RESPONSIBILITY | To facilitate and/or provide proper instruction to their workers on protection requirements and training Hazard analysis Work site inspection Determine type of equipment required |
| WORKER RESPONSIBILITY | Be fully conversant with Fall protection systems. Ensure you know capabilities of Fall Protection Equipment. Ensure barricades, ribbons and signs identify restricted areas. Ensure you understand the procedures for rescue of workers who may be unable to rescue themselves from an elevated work area. Ensure you know your anchor points. Ensure you do not wrap the lanyards and/or rope around beams, girders, pipes, etc. Utilise buddy system and continually check each other’s harness and D ring to ensure that the harness is not too lose and or the D ring has not slipped down the back. |
| * The information presented in this publication is intended for general use and may not apply to every circumstance. It is not a definitive guide to government regulations and does not relieve persons using this publication from their responsibilities under applicable legislation. The Northern Safety Association does not guarantee the accuracy of, nor assume liability for, the information presented here. Individual counselling and advice are available from the Association. |