| SAFE WORK PRACTICE |
| --- |
| TITLE | Scaffolding |
| GENERAL | Protecting workers from injuries associated with erecting and working with scaffolding. |
| APPLICATION | All scaffolding used shall be erected, maintained and dismantled by a competent worker, in accordance with manufacturers specifications and legislation. |
| PROTECTIVE MECHANISMS | Permit system Manufacturers specifications Fall protection devices Safe work procedure PPE ERP (Emergency Response Plan) |
| SELECTION AND USE | As per safe job procedure Manufacturers specifications |
| SUPERVISOR RESPONSIBILITY | Supervisors are responsible to facilitate and/or provide proper instruction to their workers on protection requirements and training Determine the type of scaffold required |
| WORKER RESPONSIBILITY | Ensure grounding on a firm and level base. Maintain the established minimum clearances from all power lines. Provide a safe access ladder. Ensure scaffold has a platform perimeter handrail. Anchor or tie a free standing scaffold according to legislation. Do not use a ladder sloped against the side of a scaffold at any time. A toe board is required on all platforms. Ensure tube and clamp modular construction is utilized. Wood construction is to be used only when absolutely necessary. Ensure proper safe scaffold tags are installed. Utilize a tag line when hoisting material. Minimize tools, material and debris on the platform. Ensure a hand line with a tool bag for tools is utilized. When working at 3m (10 ft.), fall protection system must be used. Follow scaffold safe work procedure step by step. |
| * The information presented in this publication is intended for general use and may not apply to every circumstance. It is not a definitive guide to government regulations and does not relieve persons using this publication from their responsibilities under applicable legislation. The Northern Safety Association does not guarantee the accuracy of, nor assume liability for, the information presented here. Individual counselling and advice are available from the Association. |